## Slide 1: Update: Attenuation
August 15, 2019

## Slide 2: Attenuation Paper: Major Reviewer Comments
Reviewer #1
  Calculate reflection losses using layered media approach
  Table with raw values of density, thickness, and insertion loss
  More examples of raw signal
Reviewer #2 – No major comments
Reviewer #3
  Difficult to assess accuracy
  Present attenuation across frequency spectra
  More information on how attenuation values compare to prior literature
  Separate regressions for the diploe and cortical samples

## Slide 3: Attenuation Paper: Major Reviewer Comments
Reviewer #1
  Calculate reflection losses using layered media approach
  Table with raw values of density, thickness, and insertion loss
  More examples of raw signal
Reviewer #2 – No major comments
Reviewer #3
  Difficult to assess accuracy
  Present attenuation across frequency spectra
  More information on how attenuation values compare to prior literature
  Separate regressions for the diploe and cortical samples

## Slide 4: Transformation is Mostly Unchanged by Method of Computing Reflection Coefficient
Layered Media Calculation
  Slightly increases R-squared values at 0.5 and 1 MHz
  Slightly increases slope at 0.5 and 1 MHz
  No change to average values for 2.25 MHz

## Slide 5: Attenuation Paper: Major Reviewer Comments
Reviewer #1
  Calculate reflection losses using layered media approach
  Table with raw values of density, thickness, and insertion loss
  More examples of raw signal
Reviewer #2 – No major comments
Reviewer #3
  Difficult to assess accuracy
  Present attenuation across frequency spectra
  More information on how attenuation values compare to prior literature
  Separate regressions for the diploe and cortical samples

## Slide 7: Attenuation Paper: Major Reviewer Comments
Reviewer #1
  Calculate reflection losses using layered media approach
  Table with raw values of density, thickness, and insertion loss
  More examples of raw signal
Reviewer #2 – No major comments
Reviewer #3
  Difficult to assess accuracy
  Present attenuation across frequency spectra
  More information on how attenuation values compare to prior literature
  Separate regressions for the diploe and cortical samples

## Slide 8: Raw Data
Cortical
Trabecular

## Slide 9: Attenuation Paper: Major Reviewer Comments
Reviewer #1
  Calculate reflection losses using layered media approach
  Table with raw values of density, thickness, and insertion loss
  More examples of raw signal
Reviewer #2 – No major comments
Reviewer #3
  Difficult to assess accuracy
  Present attenuation across frequency spectra
  More information on how attenuation values compare to prior literature
  Separate regressions for the diploe and cortical samples

## Slide 10: Assessing Accuracy
Report more details about the frame
Repeat measurements with different thicknesses of acrylic
  Verify that I get the same answer each time
  Verify that it is in the right range for attenuation in acrylic
Working on putting together a setup for this
  Have:
    Hydrophone, aluminum frame, water tank, o-scope, 0.5 and 1 MHz Tx
  Need:
    2.25 MHz Tx, acrylic pieces cut to different sizes

## Slide 11: Attenuation Paper: Major Reviewer Comments
Reviewer #1
  Calculate reflection losses using layered media approach
  Table with raw values of density, thickness, and insertion loss
  More examples of raw signal
Reviewer #2 – No major comments
Reviewer #3
  Difficult to assess accuracy
  Present attenuation across frequency spectra
  More information on how attenuation values compare to prior literature
  Separate regressions for the diploe and cortical samples

## Slide 12: Attenuation and Frequency
Good agreement across the three transducers
Large variation around 0.5 MHz
  Not improved by 3-layer reflection coefficient

## Slide 13: Attenuation and Frequency
Good agreement across the three transducers
Large variation around 0.5 MHz
  Not improved by 3-layer reflection coefficient
Only small differences between two methods of computing reflection coefficient

## Slide 14: Attenuation and Frequency
Good agreement across the three transducers
Large variation around 0.5 MHz
  Not improved by 3-layer reflection coefficient
Only small differences between two methods of computing reflection coefficient

## Slide 15: Low Frequency Variation
Insertion loss varies more than simulations would predict

## Slide 16: Attenuation Paper: Major Reviewer Comments
Reviewer #1
  Calculate reflection losses using layered media approach
  Table with raw values of density, thickness, and insertion loss
  More examples of raw signal
Reviewer #2 – No major comments
Reviewer #3
  Difficult to assess accuracy
  Present attenuation across frequency spectra
  More information on how attenuation values compare to prior literature
  Separate regressions for the diploe and cortical samples

## Slide 17: Update: T2
August 15, 2019

## Slide 18: Next Steps
Thoughts on the results so far?
Send the remainder of the fragments?
  We don’t have long enough echoes to look at the 0.8 s peaks (max echo time in our data is 10 ms)
  Need a non-GRE method?
When to write up and publish?